## BoQ1 (hidden)
"BoQ"
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: GSCL
Name of Work: Implementation of “SMART STREET LIGHTING” For Spine Roads and EESL Roads in Guwahati On Design, Build, Operate & Renovation Basis
Tender No: SPV/GSCL/DEV/63/2017/Pt-I/300
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 3 | 54 | 4
1.01 | Schedule A | BI01010001010000000000000515BI0100001113 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | 0 | 0 | [38 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Schedule B | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | 0 | 0 | [38 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Schedule C | BI01010001010000000000000515BI0100001115 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | 0 | 0 | [38 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Schedule A (hidden)
Schedule-A
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: GSCL
Name of Work: Implementation of “SMART STREET LIGHTING” For Spine Roads and EESL Roads in Guwahati On Design, Build, Operate & Renovation Basis (Spine Road)
Tender No: SPV/GSCL/DEV/63/2017/Pt-I/300
Name of the Bidder/ Bidding Firm / Company : | 0
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P inclusive of taxes | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Heading Conducting Detailed Site survey, Submission of Detailed Project report, Execution of Design, manufacturing, inspection & testing at manufacturer’s works in accordance with agreed QAP, packaging, delivery to site; handling at site – unloading, storage, shifting from point of unloading to store, storage and from store to the installation site; cleaning, assembly, touch up painting; installation at site; inspection & testing and commissioning for the equipment and systems of LED Smart Street Lighting system with all accessories, mounting arrangement including Centralized Control and Monitoring System (CCMS) of selected Spine Roads in the city of Guwahati. The Scope shall contain, (a) LED Street Luminaire with accessories including Dimmable and non- Dimmable Drivers; (b) Octagonal Lighting pole with inbuilt Junction Box, RCC foundation, Mounting Brackets, hard wares, and other accessories ; (c) Connecting power Cabling laid in DWC/ HDPE pipes ; (d) Earthing system ; (e) Smart Outdoor Feeder Pillars (OFP) with Smart Controller for Group Control and Monitoring System ; (f) Excavation of trench or Horizontal Drilling for laying DWC pipes; (g) GSM connectivity for communication from Feeder Pillar ; (h) Cloud registration; hosting; uploading and managing all data after Mapping of Feeder Pillars and Light poles as applicable installed by BIDDER; (i) All civil works associated with installations of the equipment/systems ; (j) Any other electrical equipment/ component which are not specifically listed above but are necessary for Roads in the city of Guwahati having road width (including Carriageway and Shoulders on either side) as below; | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | For roads having road width of 5m to 6 m. Approximate Lenght of all Roads is 22 Km. Roads Considered are : |  | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.02 | For roads having road width of 7m to 10 m. Approximate Lenght of all Roads is 62 Km. Roads Considered are : | BI01010001010000000000000515BI0100001114 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | For roads having road width of 10m to 12m. Approximate Lenght of all Roads is 24.5 Km. Roads Considered are : | BI01010001010000000000000515BI0100001115 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | For roads having road width of 12m to 14m. Approximate Lenght of all Roads is 12 Km. Roads Considered are : | BI01010001010000000000000515BI0100001116 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | For roads having road width of 14m to 16m. Approximate Lenght of all Roads is 3.5 Km. Roads Considered are : | BI01010001010000000000000515BI0100001117 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | For roads having road width of 16m to19m. Approximate Lenght of all Roads is 6.25 Km. Roads Considered are : | BI01010001010000000000000515BI0100001118 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.07 | For roads having road width of 19m to 20m. Approximate Lenght of all Roads is 0.5 Km. Roads Considered are : | BI01010001010000000000000515BI0100001119 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | For roads having road width of 20 m - 22m. Approximate Lenght of all Roads is 0.5 Km. Roads Considered are : | BI01010001010000000000000515BI0100001120 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.09 | For roads having central median and road width of 20m-22m. Approximate Lenght of all Roads is 3.2 Km. Roads Considered are : | BI01010001010000000000000515BI0100001121 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | For roads having central median and road width of 11m-13m.Approximate Lenght of all Roads is 1.3 Km. Roads Considered are : | BI01010001010000000000000515BI0100001122 | 1 | LS | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | Dismantling of existing Light Fixtures and associated cable/wire. Loading and handling of dismantled material of Lighting fixtures, wires, etc and unloading at GMC premises. | BI01010001010000000000000515BI0100001128 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information

## Schedule B (hidden)
Schedule-B
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: GSCL
Name of Work: Implementation of “SMART STREET LIGHTING” For Spine Roads and EESL Roads in Guwahati On Design, Build, Operate & Renovation Basis (EESL)
Tender No: SPV/GSCL/DEV/63/2017/Pt-I/300
Name of the Bidder/ Bidding Firm / Company : | 0
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P inclusive of taxes | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Heading | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Wiring for circuit wiring with P.V.C. insulated single core unsheathed industrial (Multistrand) cable FR conforming to IS-694: 1990 with flexible bright annealed electrolytic copper conductor for voltage grade up to 1100 volts ( Finolex /RR Kabel or Equivalent Make as approved by the Deptt.) in existing surface conduit wiring system including connection as required. 9.1.3. With 2 x 2.5 sq. mm. + earth continuity with 1x1.5 sq. mm. copper conductor cable |  | 7660 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.02 | Wiring for circuit wiring with P.V.C. insulated single core unsheathed industrial (Multistrand) cable FR conforming to IS-694: 1990 with flexible bright annealed electrolytic copper conductor for voltage grade up to 1100 volts ( Finolex /RR Kabel or Equivalent Make as approved by the Deptt.) in existing surface conduit wiring system including connection as required. 9.1.2. With 3 x 1.5 sq. mm. copper conductor cable . | BI01010001010000000000000515BI0100001114 | 630 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supplying with fitting and fixing single Pole 10 KA 240/415V 50Hz MCB of the following capacity complete with making necessary connection as approved, specified and directed by the deptt. B Series, (Schneider MG, legrand, Hager, Crabtree xpro make) 6 to 32A |  | 1432 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.04 | Supplying with fitting and fixing DP 10 KA 240/415V 50Hz MCB of the following capacity complete with making necessary connection as approved, specified and directed by the deptt. 16.3.1. B Series, (ABB, Schneider MG, legrand, Hager, Crabtree xpro make): 16.3.1.1. 32A |  | 396 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.05 | Supplying with fitting and fixing 4P 10 KA 240/415V 50Hz MCB of the following capacity complete with making necessary connection as approved, specified and directed by the deptt. 16.6.1 : B Series (Schneider MG, legrand, Hager, Crabtree xpro make) : 16.6.1.3. 63A |  | 30 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.06 | Supplying with fitting and fixing panel mounting open execution 25KA 415V 50Hz 4P MCCB (Ics=Icu, adjustable Ir setting 0.7) without enclosure of the following capacity complete with making necessary connection as approved, specified and directed by the deptt.16.16.1. 25 KA 415V 50 Hz 4P MCCB, (Schneider, legrand, Siemens, Indo Asian make) 16.16.1.3. 40A |  | 141 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.07 | Supplying with fitting and fixing 30/100/300mA sensitivity 240/415V 50Hz 4P RCBO of the following capacity complete with making necessary connection as approved, specified and directed by the deptt. 300mA sensitivity 4P RCBO, 16.10.2: (ABB, Schneider MG, legrand, Hager, Crabtree xpro make). 16.10.2.3 : 40 Amp |  | 124 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.08 | Supplying with fitting and fixing 30/100/300mA sensitivity 240/415V 50Hz 4P RCBO of the following capacity complete with making necessary connection as approved, specified and directed by the deptt. 300mA sensitivity 4P RCBO, 16.10.1.4 : (ABB, Schneider MG, legrand, Hager, Crabtree xpro make). 16.10.2.3 : 63 Amp |  | 15 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.09 | Supplying and installation and commissioning of vermin and dust proof totally enclosed double door cubical type compartmental floor mounting panel board of size 1.20 m ×1.00 m ×0.50 m made of 16 SWG (1.66mm) thick CR sheet and 35 mm × 35 mm × 6 mm size angle and 35 mm ×6 mm flat iron having 4 nos legs at the bottom and G.I. Sheet reefing on the top complete painting with 2 coats of red oxide metal primer and 2 coats of enameled paint. The panel board is to be erected in 1:3:6 RCC pole foundation including excavation of trench and brick soling etc. complete neatly internal wiring done as specified and directed by the department comprising of the following electrical items.1. 40 Amp 4 pole 415 Volt 50 Hz MCCB as incomer - 1 no. 2. 32 Amp 2 pole open execution with HBC fuse SDFU unit as outgoing - 3 nos. /32 A DP MCB 3 Nos/ 32A DP RCBO 3 NOS.. 3. 25 mm × 5 mm size 4 strip copper Bus-Bar- 1 set. 4. 40 Amp 4 pole ON-OFF poser contactor - 1 No. 5. Surface mounting timer switch - 1 No. 6. 63 Amp bakelite HBC fuse kit-kat - 3 Nos |  | 69 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.1 | Supply, installation & testing of G.I. earth station with perforated 40 mm dia and 4.50 Metre long heady duty G.I. pipe with necessary 40 mm dia. G.I. Fittings such as Socket, Tee, elbow, nipple and 50 mmx40 mm G.I. reducing socket for funnel including locking arrangement 300 mmx300 mmx6 mm hinged cover C.I. earth plate complete with digging of earth pit, construction of brick chamber and plastering of both inner & outer surface of wall as specified and directed by the deptt . |  | 312 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.11 | Extra for using salt 5 Kg and Charcoal 64 Kg in pipe Earth Station pit to provide low impedance ground in location of high soil resistivity as and when required and specified by the Deptt. |  | 312 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.12 | Supplying & laying of 8 SWG G.I. earth from Earth Electrode (below G.L.) to electrical switch gears or electrical machineries including making necessary connection as approved, specified and directed by the deptt. |  | 26400 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.13 | Supply and laying of following size Solid Aluminium conductor up to 10 sq mm balance stranded conductor, XLPE Insulated, cores laid up, PVC tape inner sheathed, Armour (Aluminium for single core up to 70 sq mm balance Aluminium strip, Galvanised for cables up to 2x10 sq mm.3x10 sq mm,4x6 sq mm balance all galvanised steel strip) , extruded PVC Type ST2 sheathed, 650/1100V grade as per IS 7908(Part 1) 1988, LT armoured U.G. cable laid in pucca flooring, road crossing, drain crossing as per site requirement and partially in air to connection as approved by the Depts. the control switch, through medium duty G.I. pipe (Tata/ Nezone make or equivalent as approved by the Deptt) bend and socket including excavation and refilling the trench and making good damage done as specified and directed by the deptt. (Nicco/ Havells/ RPG/CCI/Polycab/Gloster/ Finolex make). 32.5.1. Core - 2 A2XWaY A2XFaY. 4.00 Sq.mm 2 Core U.G. cable in 25mm dia medium duty G.I. pipe |  | 19490 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.14 | Supply and laying of following size Solid Aluminium conductor up to 10 sq mm balance stranded conductor, XLPE Insulated, cores laid up, PVC tape inner sheathed, Armour (Aluminium for single core up to 70 sq mm balance Aluminium strip, Galvanised for cables up to 2x10 sq mm.3x10 sq mm,4x6 sq mm balance all galvanised steel strip) , extruded PVC Type ST2 sheathed, 650/1100V grade as per IS 7908(Part 1) 1988, LT armoured U.G. cable laid in pucca flooring, road crossing, drain crossing as per site requirement and partially in air to connection as approved by the Depts. the control switch, through medium duty G.I. pipe (Tata/ Nezone make or equivalent as approved by the Deptt) bend and socket including excavation and refilling the trench and making good damage done as specified and directed by the deptt. (Nicco/ Havells/ RPG/CCI/Polycab/Gloster/ Finolex make). 32.5.1. Core - 2 A2XWaY A2XFaY. 6.00 Sq.mm 2 Core U.G. cable in 25mm dia medium duty G.I. pipe |  | 22890 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.15 | Supply and laying of following size Solid Aluminium conductor up to 10 sq mm balance stranded conductor, XLPE Insulated, cores laid up, PVC tape inner sheathed, Armour (Aluminium for single core up to 70 sq mm balance Aluminium strip, Galvanised for cables up to 2x10 sq mm.3x10 sq mm,4x6 sq mm balance all galvanised steel strip) , extruded PVC Type ST2 sheathed, 650/1100V grade as per IS 7908(Part 1) 1988, LT armoured U.G. cable laid in pucca flooring, road crossing, drain crossing as per site requirement and partially in air to connection as approved by the Depts. the control switch, through medium duty G.I. pipe (Tata/ Nezone make or equivalent as approved by the Deptt) bend and socket including excavation and refilling the trench and making good damage done as specified and directed by the deptt. (Nicco/ Havells/ RPG/CCI/Polycab/Gloster/ Finolex make). 32.5.1. Core - 2 A2XWaY A2XFaY. 10.00 Sq.mm 2 Core U.G. cable in 25mm dia medium duty G.I. pipe |  | 25620 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.16 | Supply and laying of following size Solid Aluminium conductor up to 10 sq mm balance stranded conductor, XLPE Insulated, cores laid up, PVC tape inner sheathed, Armour (Aluminium for single core up to 70 sq mm balance Aluminium strip, Galvanised for cables up to 2x10 sq mm.3x10 sq mm,4x6 sq mm balance all galvanised steel strip) , extruded PVC Type ST2 sheathed, 650/1100V grade as per IS 7908(Part 1) 1988, LT armoured U.G. cable laid in pucca flooring, road crossing, drain crossing as per site requirement and partially in air to connection as approved by the Depts. the control switch, through medium duty G.I. pipe (Tata/ Nezone make or equivalent as approved by the Deptt) bend and socket including excavation and refilling the trench and making good damage done as specified and directed by the deptt. (Nicco/ Havells/ RPG/CCI/Polycab/Gloster/ Finolex make).. Core - 3 & 1/2 A2XWY A2XFY. 32.5.3.1. 25.00 Sq.mm 3&1/2 Core U.G. cable in 40mm dia medium duty G.I. pipe |  | 2670 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.17 | Cable end terminations for 1100 Voltage grade, stranded Aluminium, XLPE insulated, inner and outer extruded PVC sheathed,galvanized steel round wire/ flat strip ARMORED power cables including stripping of cable insulation, supply and fixing of Aluminium lugs for aluminium cables for all phases and crimping the same to the conductor, supply and fixing of Double compression cable glands for 2C x 4 sq mm. |  | 152 | Nos | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.18 | Cable end terminations for 1100 Voltage grade, stranded Aluminium, XLPE insulated, inner and outer extruded PVC sheathed,galvanized steel round wire/ flat strip ARMORED power cables including stripping of cable insulation, supply and fixing of Aluminium lugs for aluminium cables for all phases and crimping the same to the conductor, supply and fixing of Double compression weather proof cable glands for 2C x 6sq mm. |  | 152 | Nos | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.19 | Cable end terminations for 1100 Voltage grade, stranded Aluminium, XLPE insulated, inner and outer extruded PVC sheathed,galvanized steel round wire/ flat strip ARMORED power cables including stripping of cable insulation, supply and fixing of Aluminium lugs for aluminium cables for all phases and crimping the same to the conductor, supply and fixing of Double compression weather proof cable glands for 2C x 10sq mm. |  | 152 | Nos | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.2 | Cable end terminations for 1100 Voltage grade, stranded Aluminium, XLPE insulated, inner and outer extruded PVC sheathed,galvanized steel round wire/ flat strip ARMORED power cables including stripping of cable insulation, supply and fixing of Aluminium lugs for aluminium cables for all phases and crimping the same to the conductor, supply and fixing of Double compression weather proof cable glands for 2C x 25sq mm. |  | 68 | Nos | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.21 | Supply and laying of following size Solid Aluminium conductor up to 10 sq mm balance stranded conductor, XLPE Insulated, cores laid up, PVC tape inner sheathed, Armour (Aluminium for single core up to 70 sq mm balance Aluminium strip, Galvanised for cables up to 2x10 sq mm.3x10 sq mm,4x6 sq mm balance all galvanised steel strip) , extruded PVC Type ST2 sheathed, 650/1100V grade as per IS 7908(Part 1) 1988, LT armoured U.G. cable laid in pucca flooring, road crossing, drain crossing as per site requirement and partially in air to connection as approved by the Depts. the control switch, through medium duty G.I. pipe (Tata/ Nezone make or equivalent as approved by the Deptt) bend and socket including excavation and refilling the trench and making good damage done as specified and directed by the deptt. (Nicco/ Havells/ RPG/CCI/Polycab/Gloster/ Finolex make).2.5.4.4: 16.00 Sq.mm 4 Core U.G. cable in 40mm dia medium duty G.I. pipe |  | 430 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.22 | Supplying including installation of the Octagonal poles shall be designed to withstand the maximum wind speed of 169 km/hr. The top loading i.e. area and weight of fixtures are to be considered to calculate maximum deflection of the poles and the same shall meet the requirement of BS:5649 Part VI 1982. The pole shaft shall have octagonal cross section and shall be continuously tapered with single longitudinal welding. There shall not be any circumferential welding of the pole shaft. The welding of the pole shaft shall be done by Submerged Welding process. All octagonal pole shafts shall be provided with the rigid flange plate of suitable thickness with provision for fixing 4 foundation bolts. The base plate shall be fillet welded to the pole shaft at two locations i.e. from inside and outside. The welding shall be done as per process approved by Third Party Inspection agency. (BAJAJ/ PHILIPS/ VALMONT/ PARUTHI ENGR/Nezone make) | [6 empty] | Excess(+) | 1 | Full Conversion | INR
1.23 | Pole Type BOP or equivalent-1030 Height 10 m. The materials of the pole as follows : Conforming to grade S355JO, Base Plate :- Fe 410 Conforming to IS 226/ IS 2062, Foundation Bolts :- 6.8 Gr. As per IS 1367, Pole Sections:- The Octagonal Poles shall be in single piece with single longitudinal welding join. Galvanization :- The poles shall be hot dip galvanized as per IS 2629 / IS 2633 / IS 4759 standards with average coating thickness of 65 micron. The galvanizing shall be done in single dipping. Door opening :- The Octagonal poles shall have door of approximate 500 mm length at the elevation of 500 mm from the base plate. The door shall be vandal resistance and shall be weather proof to ensure safety of inside connection as approved by the Depts.. The door shall be flush with the exterior surface and shall have suitable locking arrangement. The pole shall be adequately strengthened at the location of the door compensate for the loss in section. There shall also be suitable arrangement for the purpose of earthing, Smart pack Junction box with 6 MCB & Terminals for mounting inside base compartment of Pole. Top Dia. :- 70, Bottom Dia.:- 175, Sheet Thickness :- 3mm, Base Plate Dimensions :- (L x B x T) 275 x 275 x 16, Foundation Bolt Size:- (no. x dia.) 4 x 24 Dia, Pitch Circle Dia. PC :- 270, Bolt Length:- 750, Projected Bolt Length :-125, Anchor plate thickness :- 4 mm, Pole Foundation :-The octagonal poles shall be bolted on a pre- cast foundation with a set of four foundation bolts for greater rigidity. Foundation :- The foundation shall be done with ( Earth work :- 2.04 cubic Meters.RCC :- 1:1.5 : 3 proportion 0.65 cubic metres. Steel:- 22.43 Kg). Shuttering :- 4.32 square metres. = 22.43 Kg). |  | 228 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.24 | Supplying including fitting and fixing of Hot Dip galvanised arm bracket for installation of luminaries. Header with top cap 300 mm long pipe of thickness 3 with arrangement to fix on pole top with 3 Nos. of bolts. Armed of required length size 48.3mm out side dia x 3.25mm thick (BAJAJ/ PHILIPS/ VALMONT/ PARUTHI ENGR/Nezone make), Stiffener plate from arm of the following types : Single arm bracket 1000mm long for 3m to 10 metre. Poles. |  | 74 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.25 | Supplying including fitting and fixing of Hot Dip galvanised arm bracket for installation of luminaries. Header with top cap 300 mm long pipe of thickness 3 with arrangement to fix on pole top with 3 Nos. of bolts. Armed of required length size 48.3mm out side dia x 3.25mm thick (BAJAJ/ PHILIPS/ VALMONT/ PARUTHI ENGR/Nezone make), Stiffener plate from arm of the following types : Double arm bracket1000mm long for 3m to 10 metre. Poles. |  | 157 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.26 | Supplying testing and commissioning of Power Contactor in the existing control panel as specified and directed by the department( D Model 3 Pole 63A, AC, Schneider make. |  | 55 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.27 | Supplying testing and commissioning of Timer in the existing control panel as specified and directed by the department ( MINS, Schneider make. |  | 54 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.28 | Supplying including installation with required bracket, connection cable, as approved by the Deptt. with 2x2.5 sqmm copper FR CABLE, testing and commissioning of the following street light/ FLOOD LIGHT on existing pole/ Structure including lamp, driver, ballast as required complete as directed and specified by the deptt. 1.4. Philips Flood lighting luminaire 125 W with high power LED and unique flood optics to ensure uniform distribution Model BVP410 LED 125 CW HE NB FG S3 XT or equivalent as approved by the Deptt. |  | 192 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.29 | Supplying, installation testing and commissioning of the following rating copper wound indoor / out door type transformer complete including the payment to be made to power supply authority for supervision charge, labour charge, cost of L.T/H.T metering etc. (excluding the cost of load security) and making necessary arrangement for charging approval of the sub-station from the competent authority as directed and specified by the department. Transformer should be as per CEA guidelines as ammended up to date upto 200 KVA star rating up to 5 star, above 200KVA as per CEA guidelines for losses along with LV enclosure. 35.1.1.: 25 KVA,50Hz.11/0.433 KV. Oil filled transformer with Off Circuit tap change. |  | 34 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.3 | Supplying including installation with required bracket, connection cable, as approved by the Deptt. with 2x2.5 sqmm copper FR CABLE, testing and commissioning of the following street light/ FLOOD LIGHT on existing pole/ Structure including lamp, driver, ballast as required complete as directed and specified by the deptt.1.1. Philips 120 W, Uniflood integral flood light with driver inside a PDC housing highly efficient, reliable and sturdy Model BVP120 LED 70 CW NB FG S1 PSU GR or equivalent as approved by the Deptt. |  | 22 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.31 | Supplying fitting and fixing of transformer bushing |  | 37 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.32 | Heat curing and tanking of transformer |  | 37 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.33 | Oil filter and filling after dehydration of transformer |  | 37 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.34 | Supplying fitting and fixing of transformer new gasket set complete |  | 37 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.35 | Cleaning, painting, varnishing oftransformer tank both inside and outside |  | 37 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.36 | Testing of transformer |  | 37 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.37 | Supplying with fitting and fixing of galvanised channel of 75 mm x 40 mm x 65mm, 2200 mm long complete with clamps ,blots, nuts etc. as required and as directed by the department. | BI01010001010000000000000515BI0100001115 | 168 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.38 | Supplying with fitting and fixing of 11 KV T Cross arm complete with clamps ,blots, nuts etc. as required and as directed by the department. | BI01010001010000000000000515BI0100001116 | 108 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.39 | Supplying with fitting and fixing of galvanised channel of 100 mm x 50 mm x 65mm, 2200 mm long complete with clamps ,blots, nuts etc. as required and as directed by the department. |  | 144 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.4 | Supplying and erection of 11 KV Pin insulator (Poly) with G.I.pin, blots and nuts coach screw etc. as required and as directed by the department. |  | 108 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.41 | Supplying and erection of 11 KV Disc insulator (Poly) 45 KN with hard ware fittings etc. as required and as directed by the department. |  | 22 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.42 | Supplying and fixing of 11 KV 400 A Gang operated switch with all accessories complete as required and as directed by the department. |  | 22 | Set | Set |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.43 | Supplying and fixing of 11 KV 150 A D.O. fuse set complete as required and as directed by the department. |  | 22 | Set | Set |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.44 | Supplying and fixing of 11 KV 5 KA Lighting arrestor (Poly) set complete as required and as directed by the department. |  | 132 | Set | Set |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.45 | Supplying with fitting and fixing pole clamp complete as required and as directed by the department. |  | 930 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.46 | Supplying and string up AAAC Racoon conductor in the existing P.S.C./ M.S/ Galvanized pole with binding etc. as required and as directed by the department. Directed by the department. |  | 1502 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.47 | Supplying including installation of 4” dia. C.I. earth pipe complete as required and as directed by the department. |  | 116 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.48 | Supplying with fitting and fixing of H.T. danger plate complete as required and as directed by the department. |  | 68 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.49 | Supplying, erection and commissioning of the following specification as per IS:2713 : 410 SP hot dip Galvanized Steel tubular pole manufacturing out from electrically welded in 3 (three section having a base plate including providing all required building materials as directed and specified by the deptt. (BANSAL/SRP / Valmont / PARUTHI ENGR make) 36.34.14. 410 SP 66 Length of pole = 12.00 metre., Length of sections, Bottom = 5.80 M, Middle = 3.10 M, Top = 3.10 M, Out side dia. & Thickness Bottom = 219.10 x 5.60 mm, Middle =193.7 x 4.85 mm, Top =165.10 x 4.50 mm |  | 21 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.5 | Supply including fitting and fixing of outdoor cable Junction Boxes IP 66 halogen free and weather proof for outdoor installation ( with metric knockouts for cable entry) on existing pole with clamp nut &bolts, including all accessories complete as specified and directed by the Deptt. 34.42.4. cable size 10 sq.mm box size 167 x 125 x 82 all in mm |  | 1800 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.51 | Smart Streetlight Switching Feeder Panel(Group Control without Dimming Control) |  | 157 | Nos | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.52 | Dismentling Charge of existing (demaged) M.S.pole including carring & handling charge for shifting to proper place as specified and directed by the deptt. |  | 205 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.53 | Supplying including installation, connection cable, as approved by the Deptt. with 2x2.5 sqmm copper FR CABLE, testing and commissioning of the following street light on existing pole/ Structure including lamp, driver, ballast as required complete as directed and specified by the deptt. 4.6. Philips lighting luminaire 20w GreenLine Smart Model BRP022 LED 21 CW MR S1 PSU GR or equivalent as approved by the Deptt. 4.7. Philips lighting luminaire 120w GreenLine Xtra 10000 lm Model BRP322 LED 110 CW HE MR FG S3 XT /BRP322 LED 107 CW HE NR FG S3 XT or equivalent as approved by the Deptt. |  | 590 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.54 | Supplying , fitting and fixing LED 120 Watt Driver as directed and specified by the deptt. |  | 66 | Each | Each |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Schedule C (hidden)
Schedule-C
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: GSCL
Name of Work: Implementation of “SMART STREET LIGHTING” For Spine Roads and EESL Roads in Guwahati On Design, Build, Operate & Renovation Basis( Operation & Maintenance for 5 Years of Spine & EESL Roads)
Tender No: SPV/GSCL/DEV/63/2017/Pt-I/300
Name of the Bidder/ Bidding Firm / Company : | 0
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P inclusive of taxes | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Heading | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Operation and maintenance of LED Smart Street Lighting and Centralized Control and Monitoring System of Spine Road alongwith EESL Road for 1st (First) Year from the date of Acceptance including setting up of call centre; maintaining a service team, spare parts and providing service 365 days as per the Service Level Benchmark specified. |  | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.2 | Operation and maintenance of LED Smart Street Lighting and Centralized Control and Monitoring System of Spine Road alongwith EESL Road for 2nd (Second) Year from the date of Acceptance including setting up of call centre; maintaining a service team, spare parts and providing service 365 days as per the Service Level Benchmark specified. | BI01010001010000000000000515BI0100001114 | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.3 | Operation and maintenance of LED Smart Street Lighting and Centralized Control and Monitoring System of Spine Road alongwith EESL Road for 3rd (Third) Year from the date of Acceptance including setting up of call centre; maintaining a service team, spare parts and providing service 365 days as per the Service Level Benchmark specified. | BI01010001010000000000000515BI0100001115 | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.4 | Operation and maintenance of LED Smart Street Lighting and Centralized Control and Monitoring System of Spine Road alongwith EESL Road for 4th (Fourth) Year from the date of Acceptance including setting up of call centre; maintaining a service team, spare parts and providing service 365 days as per the Service Level Benchmark specified. | BI01010001010000000000000515BI0100001116 | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.5 | Operation and maintenance of LED Smart Street Lighting and Centralized Control and Monitoring System of Spine Road alongwith EESL Road for 5th (Fifth) Year from the date of Acceptance including setting up of call centre; maintaining a service team, spare parts and providing service 365 days as per the Service Level Benchmark specified. | BI01010001010000000000000515BI0100001117 | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only